|  |  |  |  |
| --- | --- | --- | --- |
| **Product** | **SMART CPR Training Model (Sherpa X)** | **Model** | **BT-SHERPA-XM** |
| **Manufacture** | **BT INC / South Korea** | **Q'ty** | **1 SET** |
|  |
| **A. FEATURES 1. SMART CPR training model(Sherpa X), Training & Evaluation up to 1:30** - Connect up to 6 manikins to 1 tablet through Bluetooth - Tablet and laptop are connected with WiFi, Possible to train & evaluate up to 1:30 - Easy to use and user friendly GUI software - CPR training and evaluation through its own S/W - Saving and printing the training result through its own S/W - Evaluation result can be saved as JEPG or Excel format  - Change layout to 1:12, 1:18, 1:24, 1:30 according to the system’s setting - Set the guideline - Group setting and typing the user name - On/Off the LED display panel of the manikin - Make a statistics and analyze the results  **2. A case set for Multi-system** - Charge & Store tablets - Wifi router is included - Make sure the safety with a lock **3. CPR Training Model ; Sherpa X**  **· Wireless connection with a tablet or a smartphone through Bluetooth** - Easy to use and user friendly GUI software - Connect up to 6 manikins to 1 tablet (tablet is optional) - Compression depth & rate and hand position, ventilation volume can be checked through its own S/W - Saving and printing the training result through its own S/W - Scoring the training result and rank the result in order of high scores - Select the mode between Training mode & Evaluation mode  **· LED Display embedded in the manikin** - Real-time feedback of chest compression depth and rate with LED lamp - Display total number of compression and the number of good compression - Display the instant depth of compression - Detect incomplete recoil - Detect the good chest compression when depth and rate are good and give sound feedback (Sound On/Off) - Display the feedback about ventilation such as volume and expiratory time - Display the total number of ventilation and the number of good ventilation  - Display the ventilation volume  **· Manikin Body** - Observable chest rising during ventilation  - By attaching offering magnetic stickers to AED trainer pads, AED trainer pads can be used semi-permanently - Easy to replace the face skin and lung ; sanitary training environment - The storage bag can be used as a training mattress **B. COMPONENTS** **-** Laptop with software : 1set - Case set for Multi-system : 1set (Wifi router, Multi-charger, Extension cord, Cabinet ) - SMART CPR training model : Optional (Depends on the Multi-system’s composition) - 10.1” tablet : Optional (Depends on the Multi-system’s composition)**C. WEIGHT & SIZE** - Laptop : Depends on each laptop’s specification - Case set for Multi-system : 20㎏ (500×600×500㎜) |