|  |  |  |  |
| --- | --- | --- | --- |
| **Product** | **SMART CPR Training Model (Sherpa X)** | **Model** | **BT-SHERPA-XM** |
| **Manufacture** | **BT INC / South Korea** | **Q'ty** | **1 SET** |
|  | | | |
| **A. FEATURES   1. SMART CPR training model(Sherpa X), Training & Evaluation up to 1:30**  - Connect up to 6 manikins to 1 tablet through Bluetooth  - Tablet and laptop are connected with WiFi, Possible to train & evaluate up to 1:30  - Easy to use and user friendly GUI software  - CPR training and evaluation through its own S/W  - Saving and printing the training result through its own S/W  - Evaluation result can be saved as JEPG or Excel format  - Change layout to 1:12, 1:18, 1:24, 1:30 according to the system’s setting  - Set the guideline  - Group setting and typing the user name  - On/Off the LED display panel of the manikin  - Make a statistics and analyze the results    **2. A case set for Multi-system**  - Charge & Store tablets  - Wifi router is included  - Make sure the safety with a lock  **3. CPR Training Model ; Sherpa X**   **· Wireless connection with a tablet or a smartphone through Bluetooth**  - Easy to use and user friendly GUI software  - Connect up to 6 manikins to 1 tablet (tablet is optional)  - Compression depth & rate and hand position, ventilation volume can be checked through its own S/W  - Saving and printing the training result through its own S/W  - Scoring the training result and rank the result in order of high scores  - Select the mode between Training mode & Evaluation mode    **· LED Display embedded in the manikin**  - Real-time feedback of chest compression depth and rate with LED lamp  - Display total number of compression and the number of good compression  - Display the instant depth of compression  - Detect incomplete recoil  - Detect the good chest compression when depth and rate are good and give sound feedback (Sound On/Off)  - Display the feedback about ventilation such as volume and expiratory time  - Display the total number of ventilation and the number of good ventilation  - Display the ventilation volume  **· Manikin Body**  - Observable chest rising during ventilation  - By attaching offering magnetic stickers to AED trainer pads, AED trainer pads can be used semi-permanently  - Easy to replace the face skin and lung ; sanitary training environment  - The storage bag can be used as a training mattress  **B. COMPONENTS**  **-** Laptop with software : 1set  - Case set for Multi-system : 1set (Wifi router, Multi-charger, Extension cord, Cabinet )  - SMART CPR training model : Optional (Depends on the Multi-system’s composition)  - 10.1” tablet : Optional (Depends on the Multi-system’s composition)  **C. WEIGHT & SIZE**  - Laptop : Depends on each laptop’s specification  - Case set for Multi-system : 20㎏ (500×600×500㎜) | | | |